Xpress and ASAPRatio -- Tutorial

Running Quantitation Tools - Please do the first three steps of the tutorial before the Quantitation lecture

- Using Petunia go to the “Combine Analyses” tab.

  - Add the following file to the analyses:

    - C:/TPP/data/class/Yeast/xtandem/interact.pep.xml

    - C:/TPP/data/class/Yeast/comet/interact.pep.xml

  - In the “File path (folder)” type: C:/TPP/data/class/Yeast/iprophet

  - In the box “Write output to file” type: interact-quant.ipro.pep.xml

  - In the “InterProphet Parameters” enable: Run ProteinProphet on these results

  - In the “XPRESS Options” pane select “RUN XPRESS”.

    - Change “XPRESS Mass Tolerance” to 0.1,

    - Set “Change XPRESS residue mass difference:” with K 8.0142 and R 10.0083.

    - Set “Number of isotopic peaks to sum…” to 1

  - In the “ASAPRatio Options” pane select “RUN ASAPRatio”.

    - Change “Labeled Residues” to K and R,

    - Set “m/z range to include in summation of peak:” to 0.05.

    - Check the “Use fixed scan range for Light and Heavy” option.

    - set “Min iProphet Probability for Quantitation:” to 0.9

    - Set “Specified masses:” to K 136.10916 and R 166.10941.

- When the program is finished the results can be accessed through file “c:\ TPP \ data \ class \ Yeast \ iprophet\ interact-quant.ipro.pep.xml”

- After completion, using Petunia go to the “Analyze Proteins” tab.

  - Add the following file to the analyses:

    - C:/TPP/data/class/Yeast/iprophet/interact-quant.ipro.pep.xml

  - In ProteinProphet Parameters:

    - In the “Output Directory” type: C:/TPP/data/class/Yeast/iprophet

    - In the box “Output Filename” type: interact-quant.ipro.prot.xml

    - Check the “Input is from iProphet” option.

    - Check the “Import XPRESS” and “Import ASAPRatio” options.

    - Check the “Normalize NSP using protein length” option.

Click “Run ProteinProphet”.

- When the program is finished the results can be accessed through file “c:\ TPP \ data \ class \ Yeast \ iprophet\ interact-quant.ipro.prot.xml”

For the next part of this tutorial open the file:  c: \ TPP \ data \ class \ Yeast \ iprophet\ interact-quant.ipro.pep.xml”

- In the viewer:

  - In the “Pick Columns” tab, add the massdiff column to “columns to display”.

  - Next, on the “Summary” tab set a minimum iProphet probability of 0.99, and sort the spectra by “peptide” in “descending” order.

- Click on the XPRESS ratio for spectrum -  OR20080320_S_SILAC-LH_1-1_11.07000.7000.3 (on page 1).  The page displayed shows the reconstructed chromatogram for the identified peptide.  The raw signal is shown as vertical bars, the smoothed chromatogram is displayed as a dotted line, and the region of the chromatogram used for quantitation is highlighted in red on the raw signal and blue on the smoothing curve.  By default the program quantitates the chromatogram of the charge state in which the peptide was identified.  In the top panel select a different charge state (change the Z parameter) and click the “Quantitate”.  What happens to the peak when you select charge state +3? What happens to the peak when you select charge state +1?

- Go back to the PepXML Viewer, and click on the ASAPRatio link for the same spectrum.  What is the ratio for this peptide, according to ASAPRatio? How does it compare to the one reported by XPRESS Unlike XPRESS, ASAPRatio tries to quantitate using chromatograms from all charge states where it can find a decent signal; in this case, it is using +2 and +3, even though the identification was made in the +2 charge state. Look at the data for the rest of the charge states; did ASAPRatio do a good job of rejecting bad signals?  You may have also noticed that ASAPRatio used a much larger scan range to quantitate than XPRESS; this is due to differences in the way these programs smooth the data to determine elution peaks.  We’ll learn how to adjust these boundaries below.

- Close the ASAPRatio screen, as well as the XPRESS one if still open, without saving.

- Using Petunia file browser open the file, using the ProtXML Viewer :  C:/TPP/data/class/Yeast/iprophet/interact-quant.ipro.prot.xml

- Click on the Xpress ratio for proteins sp|P04911|H2A1_YEAST sp|P04912|H2A2_YEAST.  How many peptide ratios contribute to the ratio of this protein?  Adjust the mass tolerance and the peak boundaries for the spectrum IDs that don’t have a reasonable quantitation peaks displayed. For spectra that don’t show reasonable elution profiles, set the ratios to unknown by clicking on the question mark button below the lower left corner of the chromatogram image.  Do not close the Xpress pages, after changing each Peptide Ratio, refresh the Protein Ratio page and make sure the change gets correctly recorded, then go on to the next peptide ratio.  What is the Xpress Protein Ratio and Error after you’ve corrected the peaks?

- Click “Update ProteinProphet ratio” button on the Protein Ratio page.  Close the Protein Ratio page and refresh the ProteinProphet page.

- Now let’s look at the ASAPRatio analysis; click on the ASAPRatio link for this protein.  What is the protein ratio as evaluated by ASAPRatio? What is the normalized protein ratio? What is the protein p-value? How many peptide sequences contribute to the protein ratio?

- Examine the XIC peaks that ASAPRatio found for this protein.  Did it do a good job of removing the poor quality peaks?  Make sure to check all the charge states.

- Now let’s look at the ASAPRatio analysis; click on the ASAPRatio link for protein sp|P38249|EIF3A_YEAST .  What is the protein ratio as evaluated by ASAPRatio? What is the normalized protein ratio? What is the protein p-value? How many peptide sequences contribute to the protein ratio?

- Click on the p-value link.  What is the computed mean peptide ratio in this dataset?  What is the standard deviation?

- Click on “[ Expand All ]” under the peptide sequence “EVDKLQETD…..”  How many independent LC peaks were detected for the peptide? How many times was the peptide identified?  In what isotopic forms and charge states was the peptide identified?  What are the peptide ratios at those identifications?    Why are the last two peptide ratios so similar? What is the unique peptide ratio?   What is the CV?  How was the CV calculated?

  - Click on the Peptide Ratio link of the identification OR20080317_S_SILAC-LH_1-1_01.03160.03160.3.  In what isotopic form and charge state was the peptide identified? In what charge states were signals of the peptide detectable?  What were the charge states that contributed to the calculation of peptide ratio? Adjust the peaks and charge states used to compute the peptide ratio to reduce the error and save the Interim Ratio you are happy with.

  - Refresh the “ASAPRatio: Protein Ratio” page, what happens to the error in the Interim Protein Ratio?

- Now let’s look at the ASAPRatio analysis for protein sp|P31412|VATC_YEAST.  What is the protein ratio as evaluated by ASAPRatio?  How many independent peptides contribute to the evaluation? What is the normalized protein ratio? What is the protein p-value?

- Which peptides contributed to the evaluation of protein ratio?  What are their ratios?

- Click on “[ Show | Hide ]” next to the 3rd peptide, “VDNQIGASIGK    ”, of the protein, and then click on “[ Expand All ]”.  How many independent LC peaks were detected for the peptide? How many times was the peptide identified? In what isotopic forms and charge states was the peptide identified?

  - Click on the Peptide Ratio link of the identification OR20080317_S_SILAC-LH_1-1_01.02182.02182.2.  In what isotopic form and charge state was the peptide identified?  In what charge states were signals of the peptide detectable? What were the charge states that contributed to the calculation of peptide ratio?  What went wrong with this quantitation?  Adjust this peak and save the ratio.

  - Refresh (reload) the Protein Ratio interface in order to view the recent changes.  What is the new (“Interim”) protein ratio?

- Examine and correct the quantitation peaks for the other peptides from this protein.